Programmer's Reference Disk


Frequently Asked Questions


Updated 9-06-96





What do I need to do to talk to my weather station?





     Davis weather stations require a WeatherLink in order to communicate. The WeatherLink, in combination with the supplied adapters, communicates through an RS-232 serial interface.. You must provide the routines to drive the serial port, or use a third-party communication library to do it for you. The file "techref.txt" describes the commands used to extract data from the weather station. The commands used are a combination of ASCII and binary data. Source code examples are given in both "C" and Visual Basic.





What is the difference between ASCII and Binary (or hex) data?





     ASCII is an encoding scheme that maps each letter, digit, and most punctuation symbols on a standard keyboard into a number between 0 and 255 (one byte of data). For example the letter "a" is equal to 97 or 0x61; "b" = 98 = 0x62; "A" = 65 = 0x41; "B" = 66 = 0x42; "1" = 49 = 0x31 "2" = 50 = 0x32; and "+" = 43 = 0x2B.


     Standard text files (.txt) are ASCII files because when the encoding scheme is applied to the data in the file, the result is recognizable letters, digits, and punctuation symbols. 


     Binary data, on the other hand, is the actual underling number system. Binary data usually does not make any sense when treated as if it were ASCII. Hex data refers to binary data expressed in hexadecimal notation (base 16). Hex data is indicated by the characters "0x" placed in front of the number.


     As an example, the command for reading the outside temperature on the Monitor station can be represented as either ASCII or Hex data, but it is most easily understood as a combination of the two ("<CR>" is a carriage return character):





ASCII:     "WRDDV"<CR>


Hex:      0x57, 0x52, 0x44, 0x44, 0x56, 0x0D


Combined:  "WRD",0x44,0x56,<CR>.





     The description of the "WRD" command is: "WRD n | bank address". Further examination of the description reveals that the above command will read 4 nibbles (2 bytes) from address 56 hex in bank 1 of the weather station’s ram.





     All data returned by the WeatherLink is binary data. For example if the above command is sent and the temperature was 73.2 degrees F the following data stream would be returned:





0x06,            (This is ACK to acknowledge the command)


0xDC,            (The least significant byte of data)


0x02             (The most significant byte of data)





     The data, in hex, is 0x02DC which is equal to 732 in decimal. Since temperatures are stored in tenths of a degree, this number should be divided by 10 to get 73.2 degrees F. None of the three bytes returned correspond to printable ASCII characters.





     It is difficult to use a standard terminal emulation program (such as Procomm or the Windows terminal program) for more than just verifying the connection. It is possible to create a binary download file of the WeatherLink's archive memory with a standard terminal program that has the Xmodem file transfer protocol.





Why is the temperature 700 degrees?





     All data and math on the weather station (and link) is done with integers (i.e. no fractions). In order for the station to display tenths of a degree (for temperatures), or thousandths of an inch of mercury (for the barometer), the data stored in memory must be divided by 10 (or 1000) using floating point arithmetic. Therefore the temperature should be read as 70.0 degrees, not 700 degrees.





Why doesn't the Barometer data in the LOOP command match what is displayed on the station?





     The weather station measures the absolute atmospheric pressure. In order to convert this to a Standard Barometric pressure, the station subtracts a calibration offset value. This is determined by having the user enter the desired Barometric reading (derived from some other source i.e. airport, newspaper etc.). The station stores the difference between the desired reading and the actual reading in the "StnDrd" memory register. This calibration number must be subtracted from the current Station data and Link data including the sensor interface (LOOP) and archived data.


     Note: since at higher elevations the absolute pressure decreases, the barometric pressure is generally larger than the atmospheric pressure and since the calibration number is subtracted from the data, it is generally a negative number. It is 2 bytes long.





     In general, current temperature, current outside humidity, and rain displays have a calibration number that needs to be taken into account for the LOOP data to match the station's displayed value. Please see "Reading Calibrated Data" in section VI of "techref.txt" for more details.





Why isn't there a simple command to get the current wind speed?





     Davis Instruments did not include commands to retrieve separate weather data values (such as wind speed, or inside temperature) because there are so many different pieces of data stored on the weather station, because the newest stations (GroWeather, Energy, and Health ) have new features added, and because we can't anticipate all the possible desires of programmers. The WeatherLink uses a fairly primitive, but very flexible, communication protocol. All memory is available for examination and modification with a few commands. The LOOP command provides compact data packets of the most important data values and is the simplest way to get information on the current weather conditions.





How often is the data updated?





     Wind speed data on the station is updated every 2 1/4 seconds on the Monitor, and Wizard stations. On the GroWeather, Energy, and Health stations wind speed is updated every 3 seconds. The wind speed data in the sensor image (and hence the LOOP data packets) is updated from the station data at least once a second.


     Wind direction on the weather station is measured approximately once a second. These measurements are filtered through a low pass filter. The filter has a 2 second time constant. The link reads the stations wind direction with the same frequency as it reads the wind speed.


     The rate of update of the other weather variables (inside and outside temperature, inside and outside humidity, leaf wetness, sun, and UV. Rain is dealt with separately below.) depends, in part, on what is being shown on the station's LCD display. On the Monitor, Wizard, and Perception stations, the sensor from which the displayed data is derived (the primary sensor) is read approximately once a second. Other sensors are read less frequently: approximately every 20 seconds.


     If the displayed data does not depend on a sensor (other than the anemometer), for example the station time, date, rain, wind speed or direction, then all the sensors are read equally approximately every 15 seconds.


     On the GroWeather, Energy, and Health stations the primary sensor is read approximately every 6 seconds. Other sensors are read approximately every 13 seconds. When there is no primary sensor, then all sensors are read approximately every 12 seconds.


     The Rain value on the station is updated as soon as a rain click happens. On the GroWeather, Energy and Health stations the rain rate is also updated at the same time. 


     Wind chill, dew point, THI, and THSWI values are recalculated whenever one of the sensors that are used in the calculation is read. Degree-days, wind run, solar energy, and UV dose are calculated every minute. ET is calculated by the GroWeather link once an hour.


     The link updates inside and outside temperatures, rain rate, solar rad, and UV intensity from the station data every 10 wind speed readings or approximately every 7 seconds. Every time the sensor image is sampled the link reads the station's total rain, barometer, inside and outside humidity, total wind run, total degree days, total ET, solar energy, and leaf wetness. The GroWeather, Energy, and Health links also read this data every 16 seconds in addition to when the sensor image is sampled.





Where is the data I want?


Which copy should I use?





     There are several places to look to find the information you want from the weather station. We will describe them here in general, but you must consult the appropriate memory table in section VII of "techref.txt" to find the specific address.


     The first place to look for your data is in the weather station processor memory. This is 256 bytes of memory directly accessible by the station processor, organized into 2 banks of 256 nibbles. All the information that is displayed on the station's LCD is held in the station's memory. This includes: the current value of each sensor, hi and low values of each sensor, time and date of each hi or low, calibration numbers, alarm settings, calculated data values (dewpoint, wind chill THI etc.),  and the current station time and date. This information is available with the "WRD" & "WWR" commands to read and write data to the station processor memory. The GroWeather, Energy, and Health stations can also use the "MDMP" command to receive a dump of the entire station memory at once.


     While comprehensive, the station processor memory has the important disadvantage of having a slow access speed. When you send a "WRD" command to the link, it must pass the command on to the station and wait for its reply before sending the data back to the PC. The link also has processor memory. The link monitors the station's current data values and stores them in its "sensor image". It also keeps track of the station's time and date in the TimeStamp field of the "archive image". The link processor memory is accessed with the "RRD" & "RWD" commands to read and write data respectively.


     There are a few pieces of data that are only found on the link. These include:


the sample period and archive period registers that control how the data is sampled and archived, 


the last archive time register that gives the time that the last archive was made (and thus when the next archive will be performed), 


the archive memory pointers that indicate where in the archive memory the next archive record will go and how full the archive memory is, 


the previous data registers that hold the value of accumulating data (such as rain or wind run) at the beginning of the current archive period, 


and the hi and low outside temperature archive fields that show the highest and lowest temperatures recorded in the current archive period. 


     The link does not track "derived" or "calculated" data (i.e. dewpoint, wind chill, THI etc.). nor does it track hi and low values, except for outside temperature during the current archive period.


     If you want a quick look at the current values, the LOOP command sends copies of the sensor image to the PC. See "Using the LOOP command" in section VI of "techref.txt" for more details.


     Finally, the archive memory is a separate 32K storage buffer that holds the archived data. This data is organized in to equal sized archive entries with the same format as the "archive image" in the link processor memory. The "SRD" & "SWR" commands are used to read and write parts of the archive memory. The "DMP" command will download the entire archive memory (32K) using the Xmodem protocol.


     On the GroWeather, Energy, and Health links, the last 256 bytes (addresses 0x7F00 to 0x7FFF), are used to record the memory image from an MDMP command before sending it on the computer and is not available for normal archive purposes.





How do I get a snapshot of the station memory?





     On the GroWeather, Energy, and Health stations, the MDMP command will return a CRC checked block of data that contains an image of the entire station memory. It is very useful any time you want to examine several station memory locations at once. For instance, looking at all the Hi/Lows or all the Alarm thresholds. See "Using the MDMP command" in section VI of techref.txt.


     There is no easy way to get a snapshot of the Link memory or the memory of the Monitor, Wizard, or Perception. You could send a series of WRD or RRD command to scan the full memory space, but this will not generate an image of simultaneous data, and would take a fairly large amount of time to accomplish.





How can I make my own "Bulletin" (Real-time display of the weather)?





     There are two separate parts of the bulletin display as implemented in the PC Link program. One part is the continuous display of the current weather conditions. The second is keeping track of hi and low values as they occur. These are two somewhat separate tasks. The hi and low tracking is optional.


     If hi and low tracking is to be done, you may want to retrieve the hi and low values recorded on the station. For the Monitor, Wizard, and Perception stations, you will need to issue separate WRD commands for each hi, hi time, hi date, low, low time, and low date that you wish to track. On the GroWeather, Energy, and Health stations, the MDMP command will retrieve a copy of the entire station memory from which you may extract the desired information.


     To begin the real-time information stream, issue a LOOP command for one packet. (The number of packets requested in one command can be increased as you become more confident in your programming, but it involves extra work to count the number of packets received) The first character received is <ACK> acknowledging the LOOP command, then a byte containing 0x01 (the packet header byte). If either of these bytes are not correct, then there has been some sort of error. Next comes the data and CRC checksum bytes. These bytes should be read into a buffer and CRC checked (see below).


     After CRC checking, the data is ready for extraction. The description of the LOOP command gives the format of the LOOP data packets (see section V of "techref.txt"). This information is also found in the description of the sensor image in the appropriate link memory address table (see section VII of "techref.txt"). "Using the LOOP command" in Section VI of "techref.txt" contains sample code to extract the data from a buffer containing a LOOP packet.


     The data in the LOOP packet is only the current data directly measured by sensors. If you would like to display "derived" or "calculated" values (i.e. dewpoint, wind chill, THI etc.) you should examine "Calculated Data values" in section VI of "techref.txt" for instructions on how to calculate these values.


     You should now have at your disposal the current values of the variables you want to display. If you are tracking hi and low values, test the current data against your previously recorded hi/low values and adjust if necessary. After displaying the data, issue another LOOP command and process the returned data. 


     It is a good idea to have some way to monitor the status and reliability of the communication channel. If there is an error or a time-out condition, you can attempt to restart the data stream with the following steps: first stop the stream of LOOP data by sending another command (like a read of Link memory). Then wait a 1 or 2 seconds to let the serial port catch up. Then clear your serial port's receive buffer and send the LOOP command again. This is especially useful when you are requesting more than one packet at a time, and a character is dropped in the middle of a packet.





How do I use CRC checking?





     You have two choices. The simplest is to ignore the CRC information. Read the CRC bytes off the serial port and throw them away. The problem with this approach is that you are giving up the opportunity to double check the reliability of the data being sent to you. Presumably you would like to know if your communication channel is not working correctly.


     In order to take advantage of CRC checking you will need to compute a CRC checksum on the data as it arrives. When the Link's CRC checksum is sent, continue processing the CRC checksum. If the final resulting checksum is zero, then there was not a CRC error in the packet you just received and you can be pretty sure that the data received is the same as the data sent. See the code for the "fill_crc_buffer()" function in Section IV  and "CRC Checking" in Section VI of techref.txt for more details.





I want to track Degree-days, but my Monitor doesn't have this data. Is there any way to get this data with what I have?





     There are several features found on our newest weather stations (GroWeather, Energy, and Health) that, while they are not available directly on the earlier stations, can be calculated by a PC from data available in the archived data. These include Degree-days, Temperature-Humidity Index, and Wind Run. Please see the section "Calculated Data Values" in Section VI of techref.txt for more details.





Why is the maximum wind direction 15 degrees?





     The wind direction data stored in the archive indicates the sector from which the most wind direction samples came from during the archive period. These sectors correspond to the direction arrows on the station compass rose: 0 = North, 1 = North North East, 2 = North East, etc. On the GroWeather, Energy, and Health stations, the direction of the hi wind speed is also stored in this same format. See appendix F "Wind Direction Sector Codes" in "techref.txt" for more details.


     The wind direction in the sensor image (and LOOP packets) is in degrees (0 - 359).





How are wind chill, dew point and THI calculated? 





     The section "Calculated Data values" in section VI of "techref.txt" contains a description of how to calculate some of the "derived" data values found on the station.


� DATE \@ "MM/dd/yy h:mm AM/PM" \* MERGEFORMAT �09/05/96 12:35 PM�		� PAGE �6�











