assignment (15)

---
assignment (16)

---
next topic ...
next topic ...
- errors and uncertainties in measurement
- combining errors/uncertainties
  - to find the net error/uncertainty in a quantity calculated from several component measurements, assuming you know the individual error/uncertainty in each component (error propagation)
  - to find the net error/uncertainty you can realize if you make and combine several measurements of the same quantity, perhaps using different sensors, instruments, or sensing principles (sensor fusion)

---
key points to take away ...
key points to take away ...
- accuracy & precision of single measurements
- combining errors/uncertainties
  - a result calculated from multiple different uncertain measurements must have a relative uncertainty worse than the worst component’s relative uncertainty
  - a result calculated from multiple uncertain measurements of the same measurand, e.g.,
    by making the measurement several times with different instruments, must have an absolute uncertainty better than the best individual measurement’s absolute uncertainty

---
accuracy & precision
accuracy & precision
- accuracy: how close is your measurement to the correct value? (whatever “correct” means ...)
- precision: what is the spread of your measurements around the value you found?

---
error & uncertainty
error & uncertainty
- the difference between error & uncertainty is ...
  well ... that’s actually a little uncertain ...
- generally “uncertainty” is used more-or-less interchangeably with the resolution of the measuring instrument ...
- and error is used more-or-less interchangeably with the inaccuracy of the result
  - errors you can characterize by the statistical distribution of the measurements you actually make
  - errors you can only estimate, i.e., guess
  - fundamental arguments among mathematicians etc about whether the same arithmetic applies to both

---
distribution of measurements whose outcome is an integer count
distribution of measurements
whose outcome is an
integer count

---
measurements whose outcomes are integer counts
measurements whose outcomes are
integer counts
relative
probability
(1) you count many samples
(2) you calculate the mean
of the counts in your samples
(3) what determines the width of this distribution of observed results?
observed number
of counts

---
exercise: the world series
assignment
(20) The World Series problem:
a) Get ~100 years of outcomes of the World Series; http://www.baseball-almanac.com/ws/wsmenu.shtml
is one of many compilations on the web.
b) If the teams are equally matched then the probability of the series going 4, 5, 6, or 7 games is equivalent to coin flipping; plot actual outcomes vs. corresponding coin-flip probabilities.
c) Now compare the probabilities you calculated with the actual data. Does the series generally run shorter or longer than you would expect? What are some reasons actual and expected might differ?

---
assignment (17)
more good words to think about:
integrator ↔ averager or smoother
differentiator ↔ edge or transition detector

---
summary, then details
summary, then details
narrow banding “squeezes out” noise but not signal
  - problem: to keep the system “on station”
lock-in amplifier (a.k.a. synchronous amplifier, synchronous rectifier, phase sensitive detector, etc)
  - stays “on station” because you have the reference signal
  - squeezes out noise in phase and frequency domains
generalization: some forms of modern spread spectrum communication coding, e.g., CDMA (code division multiple access) for GPS, cell phones, etc.

---
the concept expressed as code
the concept expressed as code
ordinary passive “full-wave rectifier”:
  - Abs[signal(t)] = signal(t)>0 ? signal(t):-signal(t)
synchronous rectifier:
  - SyncAbs[signal(t), reference(t)] =
      reference(t)>0 ? signal(t):-signal(t)
  - reference(t) takes on many application- and economics-dependent forms:
    - multiply by cos(ωref t): typical analog modulation
    - on/off: typical mechanical or digital modulation
    - pseudo-random word: typical broadband system
      - CDMA cell phone communication
      - GPS satellite navigation system

---
graphical illustration
graphical illustration
(1) consider an illustrative “slowly varying” signal
S[t] = 1.0 - 0.8t + 0.8t2 + 0.2 sin[4t]+0.025 cos[12t]

---
(2) now bury the signal in a much larger sea of noise:
noise[t] = 2.+.4t-4.t2-.5Sin[4t+/6.] - .25Cos[12t-/12.]
signal+noise
signal

---
     (3) when the signal (but not the noise) is modulated
     this is how the synchronous rectifier output looks:
what you see
(S+N) above
what you would
see if you ran
this through an
averaging algorithm
(N) below
     notice that the average value (the solid line)
faithfully reconstructs the original signal …
now we need to actually implement the averaging

---
(4) here it is after processing by a 21-point sliding average:
heavier filtering would faithfully restore the original signal,
distorted (under favorable conditions only slightly) by
the noise that happens to be in the frequency and phase band
accepted by the process

---
summary …
summary …
- if you can give your signal (but not the noise) some sort of “signature” you can pull it back out it of a lot of noise
- if you chop or sinusoidally modulate it and use a detection method that looks for the modulation frequency you win nicely
- if you use a detection method that looks for the modulation frequency and its phase
  then you win spectacularly
- more complex signatures, e.g., CDMA, provide even better noise rejection

---
assignment
18) The three major cell phone systems are CDMA, TDMA, and GSM. xDMA describes both the system and the coding method; GSM describes a system that uses a kind of “phase shift coding” (PSC). Identify (e.g., by web search) and document one service provider who uses each coding method. Briefly describe the essential idea underlying each coding method. [Note: you may find that they are not mutually exclusive, e.g., some systems use both PSC and TDMA. ]

---
last few topics we covered ...
last few topics we covered ...
- basic transduction & measurement
- sensors that deliver electronic signals
  - voltage sources & current sources
  - device parameters (resistance, capacitance, …)
    - force a voltage, measure the current
    - force a current, measure the voltage
mother nature’s efforts to thwart sensing
  - fundamental noise (thermal, shot, “flicker”)
  - technical noise (the environment)
some tricks to make the best of it
  - narrow banding in frequency domain
  - coding to narrow-band in phase domain

---
remember well ...
remember well ...
usually signal accumulates faster than noise
  - e.g., integrated signal power ~ measuring time
           integrated noise power ~ measuring time½
            so S:N ratio gets better as time½
  - but not always!
    - e.g., in an inertial navigation system
      signal-to-noise ratio of a position measurement
      gets worse as time3/2

---
assignment
19) Numerically simulate a one-dimensional “integrated random walk”: you are in a sealed-cabin with an accelerometer; you know your starting position, and you start with zero velocity; integrating the accelerometer output gives your velocity, integrating again gives your displacement from initial position; but the accelerometer output has random noise on it. Show that your simulation suggests Δv ~ t1/2 and Δx ~ t3/2.